## Sheet1
Device | Tag | Description
VFD_Pump | CPR_HLP1 | H LIFT PUMP 1
SS_Pump | CP1_BWP1 | BWASH PUMP 1
Mixer | IEW_BWP1_XXX | Mixer 1
Transmitter | CRW_RWW1_FT1 | RAW WATER FLOW
HW_Transmitter | CRW_RWW1_LT1 | RAW WATER #1 LEVEL
LIT | CRW_TSN1_LT1 | TRV SCREEN DIFER LVL
FIT | CRW_RWW1_FT1 | RAW WATER FLOW
Valve | CP1_FLC1_IV1 | H LIFT P5 Dcharge
Gate | CPR_HLP5_OV1 | FLOC T5 INLET VLE 1